## Sheet
Canopy Commissioning Report
CLIENT: Edcec
PROJECT NAME: Edde
PROJECT NUMBER: Edead
DATE OF VISIT: 2024-10-17
ENGINEER(s): Eddead, Aedada
Your Kitchen Ventilation System has the following serviceable technology....
KITCHEN CANOPY AIR READINGS
EXTRACT AIR DATA
Drawing Number: 21
Location: cddc
Model: UVF
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
EXTRACT AIR READINGS
Module # | T.A.B Point Reading (Pa) |  | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s) | Percentage
1 | 0.0 pa |  | 71.8 | 0.0 | 0.0
Total Flowrate 0.0 m3/s
SUPPLY AIR DATA
Drawing Number: 21
Location: cddc
Model: UVF
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
SUPPLY AIR READINGS
Module # | T.A.B Point Reading (Pa) |  | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s) | Percentage
1 | 0.0 pa |  | 121.7 | 0.0 | 0.0
Total Flowrate 0.0 m3/s
Total Percentage 0%
UV CAPTURE RAY SYSTEM
UV SYSTEM CHECK RESULTS
Quantity of Slaves per System |  |  | 33
UV Pressure Setpoint (Pa) |  |  | NO
Airflow Proved on Each Controller |  |  | YES
Communication To All Canopy Controllers |  |  | YES
UV System Tested and Fully Operational |  |  | YES
All UV Safety Switches Tested |  |  | YES
All Filter Safety Switches Tested |  |  | YES
UV Capture Jet Operational |  |  | YES
Capture Jet average pressure Reading (PA) |  |  | NO
ADDITIONAL NOTES
dded
eddeed
deded
Date |  | 2024-10-17
Print |  | eddead, aedada
Sign