## Sheet
Canopy Commissioning Report
CLIENT:
PROJECT NAME:
PROJECT NUMBER:
DATE OF VISIT: 2024-10-02
ENGINEER(s):
KITCHEN CANOPY AIR READINGS
EXTRACT AIR DATA
Drawing Number: 223
Location: feeffe
Model: KVF
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
EXTRACT AIR READINGS
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s) | Percentage
1 | 23.0 pa | 71.8 | 344.34 | 2323.0 | 0.0%
Total Flowrate 2323.0 m3/s
Total Percentage 675.0%
SUPPLY AIR DATA
Drawing Number: 223
Location: feeffe
Model: KVF
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
SUPPLY AIR READINGS
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s) | Percentage
1 | 23.0 pa | 121.7 | 583.65 | 232.0 | 3.0%
Total Flowrate 232.0 m3/s
Total Percentage 3.0%