## Sheet
Canopy Commissioning Report
CLIENT: Yazan
PROJECT NAME: Project
PROJECT NUMBER: UK1212
DATE OF VISIT: 2024-09-23
ENGINEER(s): Yazan, Mi,e
KITCHEN CANOPY AIR READINGS
EXTRACT AIR DATA
Drawing Number: 121221
Location: Loc1
Model: KVF
Quantity of Canopy Sections: 2
Calculation: QV = Kf x √Pa
EXTRACT AIR READINGS
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s)
1 | 200.0 pa | 215.4 | 3046.22 | 300.0
2 | 300.0 pa | 215.4 | 3730.84 | 4999.99
Total Flowrate 5299.99 m3/s
SUPPLY AIR DATA
Drawing Number: 121221
Location: Loc1
Model: KVF
Quantity of Canopy Sections: 2
Calculation: QV = Kf x √Pa
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s)
1 | 300.0 pa | 243.4 | 4215.8116656226475 | 400.0
2 | 0.0 pa | 121.7 | 0.0 | 0.0
Total Flowrate 400.0 m3/s
EXTRACT AIR DATA
Drawing Number: ede
Location: loc1
Model: KCH-F
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
EXTRACT AIR READINGS
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s)
1 | 300.0 pa | 71.8 | 1243.61 | 500.0
Total Flowrate 500.0 m3/s
SUPPLY AIR DATA
Drawing Number: ede
Location: loc1
Model: KCH-F
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s)
1 | 300.0 pa | 121.7 | 2107.9058328113238 | 2000.0
Total Flowrate 2000.0 m3/s