## Sheet
Canopy Commissioning Report
CLIENT:
PROJECT NAME:
PROJECT NUMBER:
DATE OF VISIT: 2024-09-28
ENGINEER(s):
KITCHEN CANOPY AIR READINGS
EXTRACT AIR DATA
Drawing Number: 212
Location: dee
Model: KSR-F
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
EXTRACT AIR READINGS
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s) | Percentage
1 | 33.0 pa | 67.7 | 388.91 | 212.0 | 2.0%
Total Flowrate 212.0 m3/s
Total Percentage 55.0%
SUPPLY AIR DATA
Drawing Number: 212
Location: dee
Model: KSR-F
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
SUPPLY AIR READINGS
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s) | Percentage
1 | 23.0 pa | 121.7 | 583.65 | 23.0 | 25.0%
Total Flowrate 23.0 m3/s
Total Percentage 25.0%