## Sheet
Canopy Commissioning Report
CLIENT:
PROJECT NAME:
PROJECT NUMBER:
DATE OF VISIT: 2024-09-26
ENGINEER(s):
KITCHEN CANOPY AIR READINGS
EXTRACT AIR DATA
Drawing Number:
Location:
Model: KSR-S
Quantity of Canopy Sections: 1
Calculation: QV = Kf x √Pa
EXTRACT AIR READINGS
Module # | T.A.B Point Reading (Pa) | K-Factor (m3 /h) | Flowrate (m3 /h) | Flowrate (m3 /s) | Percentage
1 | 2323.0 pa | 67.7 | 3262.97 | 212.0 | 15.0%
Total Flowrate 212.0 m3/s
Total Percentage 15.0%